## Slide 1: FLOOD MANAGEMENT SYSTEM

## Slide 2: By :
Praveena.L
Praveen Raj.R
Pugazhenthi.S
Sakthi Kaviya.L
Saltina.V

## Slide 3: Problem definition:
The project involves deploying IoT sensors near water bodies and flood-prone areas to monitor water levels and provide early flood warnings through a public platform. The objective is to enhance flood preparedness and response by issuing timely warnings to both the public and emergency response teams. This project includes defining objectives, designing the IoT sensor network, developing the warning platform, and integrating them using IoT technology and Python.

## Slide 4: Objectives of the project:
Develop a real-time flood monitoring system using IoT technology
Issue early flood warnings to the public and emergency response teams
Enhance flood preparedness and response by providing timely warnings
Reduce the loss of life and property damage caused by floods

## Slide 5: Limitations of Existing Algorithms:
Existing flood monitoring systems using IoT sensors near water bodies and flood-prone areas to monitor water levels and provide early flood warnings through a public platform have a number of limitations, including:
Accuracy: The accuracy of flood monitoring systems can be affected by a number of factors, including the type of sensors used, the location of the sensors, and the environmental conditions. For example, ultrasonic sensors can be inaccurate in windy conditions, and water turbidity can interfere with optical sensors.
Cost: Flood monitoring systems can be expensive to install and maintain. This can be a barrier to implementation in developing countries and rural areas.
False alarms: Flood monitoring systems can generate false alarms, which can lead to unnecessary evacuations and disruptions. This can erode public trust in the system and lead to people ignoring future warnings.
Data management and analysis: Flood monitoring systems generate a large amount of data. This data needs to be managed and analyzed effectively in order to provide accurate and timely warnings. This can be a challenge, especially for large and complex systems.
Public awareness and access: It is important to ensure that the public is aware of flood monitoring systems and has access to the warnings that they provide. This can be challenging in areas with limited internet access or low literacy rates.

## Slide 6: Concept of proposed Algorithm:
Data Collection : The IoT sensor network collects data from a number of sensors located in a flood-prone area. The data includes water level readings, rainfall data, and other relevant environmental data.
Data Analysis: The data is transmitted to the cloud-based platform, where it is analyzed using a machine learning algorithm. The algorithm identifies a trend in the water level data that suggests a flood is imminent.
Warning Generation: Based on the results of the analysis, the system generates a flood warning for the area. The warning is disseminated to the public and emergency response teams through a variety of channels, such as SMS, email, and social media.

## Slide 7: Design Thinking:
IoT Sensor Network Design:
Identifying the flood-prone areas that need to be monitored.
Selecting the appropriate sensor type and placement for each flood-prone area.
Designing sensor communication network.
Deploying sensors and power system.
Early Warning Platform:
Data sources: The platform can be able to access data from the IoT sensor network in real time.
Data visualization: The platform can be able to display the water level data in a clear and concise way. This could be done using charts, graphs, and maps.
Flood warnings: The platform can be able to generate and issue flood warnings based on the water level data. The warnings can be tailored to specific locations and audiences.

## Slide 8: Design Thinking:
Integration Approach :
Cloud-based platform: This approach involves using a cloud-based platform, such as Azure IoT Hub or Amazon Web Services IoT Core, to collect and manage data from the IoT sensors. The sensors send data to the cloud-based platform using a variety of protocols, such as MQTT and CoAP. The cloud-based platform then stores the data and makes it available to the early warning platform.
Local gateway: This approach involves using a local gateway to collect data from the IoT sensors and forward it to the early warning platform. Gateways can be used to collect data from sensors that are not connected to the internet, and they can also be used to improve the performance and reliability of the overall system.

## Slide 9: Conclusion:
Floods are one of the most common and destructive natural disasters in the world. They can cause significant damage to property and infrastructure, and can also lead to loss of life. Early warning systems are essential for mitigating the impact of floods, and IoT technology can play a vital role in developing more effective and efficient systems.
This project has proposed an IoT-based flood monitoring and early warning system. The system will consist of a network of IoT sensors deployed in flood-prone areas to monitor water levels in real time. The data collected by the sensors will be transmitted to a cloud-based platform, where it will be analyzed and used to generate flood warnings. The warnings will be disseminated to the public and emergency response teams through a variety of channels, including SMS, email, and social media.

## Slide 10: References:
Design Thinking: A Practical Guide to Innovative Product Development by Tim Brown
Design Thinking for IoT by UXPin
Flood Monitoring and Early Warning System Using IoT by EUDL
IoT-Based Flood Monitoring and Early Warning System: A Review by EAI Endorsed Transactions on Internet of Things
IoT-based Flood Monitoring and Early Warning System Using LoRa-based Wireless Communication by Scientific Reports
IoT-Based Flood Monitoring and Early Warning System Using Cloud Computing and Mobile App by IEEE Access